CZECH NATIONAL REPORT

ON THE RESULTS OF 2005-2006 SURVEY

P. Hejda, J. Horáček

### Institute of Geophysics ASCR

141 31 Prague, Czech Republic

E-mail:  ph@ig.cas.cz

A recent stage of the magnetic surveying activities in the Czech Republic was started in the fifties by setting up a fundamental network of the first order. It consists of 199 points, which have been stabilized by means of granite boundary stones and marked by black and white aluminum rods.

Measurements of the vertical and horizontal components were carried out in 195758 and supplemented by reduced values of declination obtained at a former campaign. The network was re-occupied in 19761978 when three components D (by Matting & Wiesenberg theodolite), H (QHM) and Z (BMZ) were completed by the measurements of the total field F (by PPM). The latter enabled to correct random errors. The azimuth was determined by the Sun observations. The last magnetic survey in 1994-96 was carried out by a fluxgate theodolite and a proton precession magnetometer.

Since 1970 six selected point have been reoccupied approximately every 2 years. Five of them are situated close to the Czech boundaries, the last one in Eastern Bohemia. The repeat station network was completed by station Mýto (Western Bohemia) in 2003. Eight series of measurements are carried out at every station. All measurements are reduced to annual means centered to the middle of the year in which the station was measured using data from geomagnetic observatory Budkov. No on-site variometer is used.

The measurements were usually carried out in odd years (1999, 2001, 2003). According to the recommendation of the first Workshop on European Repeat Station Measurements held in Niemegk in 2003, the term was changed to even years, starting from 2004. Last survey was carried out in May and June 2006 and the final results are now in preparation.